# Confined Space Checklist

This Checklist complements the Permit to Work for Confined Space Entry

Identify Confined Space

| Determine whether the space to be entered is a confined space |  |
| --- | --- |
| Get a copy of methodologies or safe work practices documentation (e.g., SWMS) |  |
| Get all the required equipment for safe entry and emergency evacuation |  |
| Visually inspect all the equipment is in good condition, working properly, and calibrated/ certified within the period |  |
| Verify all the entry teams hold current competency for confined space entry |  |
| Check the weather forecast is favorable (if necessary) |  |

Before Entering the Confined Space

| Discuss the planned work with Permit Issuer to ensure no conflict with recent or adjacent work |  |
| --- | --- |
| Obtain any additional permits that may be required, e.g., isolation, or hot work |  |
| Assemble the equipment required for the safe performance of the job |  |
| Erect barriers around the work area and any manholes that are to be fitted |  |
| Identify, and implement measures to control any hazards likely to affect workers (refer to SWMS) |  |
| Establish evacuation and rescue procedures and review them with team |  |
| Discuss with the team what work is to be done, how, and by whom |  |
| Check communications, for example, contact base on radio/ cell phone, to establish contact can be made in an emergency |  |
| Verify all hazards are controlled (e.g., energy and material sources isolated or de-energised) |  |
| Confirm there are enough workers to carry out the planned work safely |  |
| Confirm the entry team have all the required equipment to do the job safely |  |
| Check that the entry team has the correct protective clothing and equipment |  |
| Again, check all the equipment is in good condition and working properly |  |
| Discuss health and safety issues and emergency and evacuation procedures and hazards |  |
| Check all rescue equipment is erected and in place |  |
| Check that the confined space is adequately ventilated |  |
| Test and determine the air in the confined space to ensure that it is within limits |  |
| Determine that entering the space should not affect the team’s health or safety |  |
| Implement a system to record entry to, and exit from, the confined space and appoint Stand-by persons |  |
| Review all controls with Permit Issuer and receive the Confined Space Entry permit |  |
| Give the final permission for the team to enter the confined space |  |

During Confined Space Work

| Follow all designated safe working practices (refer to SWMS and Confined Space Entry permit) |  |
| --- | --- |
| The entry team wears all required personal protective clothing and equipment |  |
| Maintain contact between the Entry Team can communicate with the Stand-by Person(s) |  |
| Test the emergency evacuation procedures if relevant (i.e., depending on how site-specific the plan is, and whether the procedures have been previously tested for the type of confined space) |  |
| Investigate/ evacuate if an alarm sounds on the gas monitor (immediate evacuation required for high alarms), if ventilation fails, or following any event which potentially affects the safety of those in the space |  |
| Evacuate if any worker begins to be affected by the atmosphere |  |

Once Work is Completed

| Check all equipment, materials, and personnel are safely removed from the space |  |
| --- | --- |
| Check all entrances to the confined space are properly closed and secured and signage is in place |  |
| Check the whole work site to a safe condition |  |
| Remove all temporary barriers erected around work areas |  |
| Complete and return the Confined Space Entry Permit to close out with the Permit Issuer |  |